S1 Fig. Additional pressure pathline profiles of CFD simulations. 0-, 20-, 50-, and 70-degree positions shown. Peak pressure recorded in ANSYS software for use in CFD calibration curve (Fig 3B).

- S2 Fig. Full ventilator screen readout at various volume combinations. Full pressure, flow, and tidal volume waveforms output by the ventilator during time-multiplexed co-ventilation as seen in Fig 5A. Ventilator set to respiratory rate of 30 bpm (I:E = 1:1; Patient RR = 15bpm, I:E 1:3).  Expiratory flow and volume waveforms are driven by internal algorithms and reliance on their data is not possible with the device as constructed. Volume combinations of 575-283, 574-495, 566-615 shown with test lung 1 and 2 respectively.

- S3 Fig. Mismatched I:E ratio combinations that do not temporally overlap with time-multiplexed co-ventilation. Potential combinations were limited to a respiratory rate >10 breaths per minute and E-time multiples of 0.5 seconds.  I:E combinations take the form: TE,P2=2N TE,P1+1, where TE,P1 is the expiratory time of patient 1, TE,P2is the expiratory time of patient 2, N can be any of the positive integers, and TE,P2>TE,P1. Schematic visualizations of I:E pairs of 1:1 and 1:3, 1:1 and 1:5, 1:1.5 and 1:4, and 1:3 and 1:5 are shown.