Supplementary Material

Table 2: A. Primers and probes used in the in-house assays specifically detecting SARS-CoV-2.

B. Mastermix composition and C. Cycling conditions.

A. Primers and Probes

| E_ Sarbeco_F1forward primer (WHO E-Gene) | 5’-ACAGGTACGTTAATAGTTAATAGCGT-3’ |
| --- | --- |
| E_Sarbeco_E2 rerverse primer (WHO E-Gene) | 5’-ATATTGCAGCAGTACGCACACA-3’ |
| E_Sarbeco_P1 probe (WHO E-Gene) | 5’-FAM-ACACTAGCCATCCTTACTGCGCTTCG-BHQ-3’ |
| RdRp_SARSr-F forward primer (RdRp-Gene) | 5’-GTGARATGGTCATGTGTGGCGG-3’ |
| RdRp_SARSr_Rerverse primer (RdRp-Gene) | 5’-CARATGTTAAASACACTATTAGCATA-3’ |
| RdRp_SARS-P2 probe* (RdRp-Gene) | 5’-FAM-CAGGTGGAACCTCATCAGGAGATGC-BHQ-3’ |
| N-Forward (N-Gene) | 5’-TAATCAGACAAGGAACTGATTA-3’ |
| N-Reverse (N-Gene) | 5’-CGAAGGTGTGACTTCCATG-3’ |
| N-Probe (N-Gene) | 5’-FAM-GCAAATTGTGCAATTTGCGG-BHQ-3’ |
| China CDC-ORF1ab-Forward (ORF1ab-Gene) | CCCTGTGGGTTTTACACTTAA-3’ |
| China CDC-ORF1ab-Reverse (ORF1ab-Gene) | 5’-ACGATTGTGCATCAGCTGA-3’ |
| China CDC-ORF1ab-Probe (ORF1ab-Gene) | 5'-FAM-CCGTCTGCGGTATGTGGAAAGGTTATGG-BHQ-3' |
| WMD ORF1b Forward | 5’-CATGGTGGACAGCCTTTGTTAC-3’ biosearch design set |
| WMD ORF1b Reverse | 5’-TCGCGTGGTTTGCCAAGAT-3’ |
| WMD ORF1b Probe | 5’-FAM-AATGTGAATGCGTCATCATCTGAAGCA-BHQ-3’ |
| WMD M-Gene-Forward | 5’-CAAGGACCTGCCTAAAGAAATCAC-3’ biosearch design set |
| WMD M-Gene-Reverse | 5’-ACGCTGCGAAGCTCCCAAT-3’ |
| WMD M-Gene-Probe | 5’-FAM-TGTTGCTACATCACGAACGCTTTC-BHQ-3’ |
| PCO3-Forward (hBGL-Gene) | 5’-ACACAACTGTGTTCACTAGC-3’ |
| PCO4-Reverse (hBGL-Gene) | 5’-CAACTTCATCCACGTTCACC-3’ |
| BGL-Probe (hBGL-Gene) | 5’-Quasor-TCAAACAGACACCATGGTGCACCTGA-BHQ-3’ |

*The RdRp gene P2 probe is specific for SARS-CoV-2 and does not detect SARS-CoV [Corman].

B. Master Mix

AgPath-ID™ One-Step RT-PCR Kit (Applied Biosystems™ Catalog number: 4387424m)

|  |  | 1x (20+5) reaction uL |
| --- | --- | --- |
| AgPath RT mix 2x | 2x | 10 |
| Forward primer | 100 µM | 0.1 |
| Reverse primer | 100 µM | 0.1 |
| Probe (FAM/BHQ1) | 100uM | 0.05 |
| BGL PCO3 | 100uM | 0.1 |
| BGL PCO4 | 100uM | 0.1 |
| BGL probe BGL Quasar 670 | 100uM | 0.05 |
| Water |  | 4.7 |
| AgPath 25x RT enzyme | 20 µM | 0.8 |
|  |  | Total 16 |
| Sample extract |  | 4 |

C. Cycling conditions LC480 II

| Cycles | Temperature | Time | Ramp rate (0C/s) |
| --- | --- | --- | --- |
| 1x | 45 0C | 15 min | 4.4 |
| 1x | 95 0C | 15 min | 4.4 |
| 45x | 95 0C | 15 sec | 4.4 |
|  | 60 0C | 45 sec | 2.2 |
| 1x | 40 0C | 30 sec | 2.2 |

Figure 4: Vero E6 cells infected with SARS-CoV-2: A: confluent layer of Vero E6 cells with no cytopathic effect (10x magnification), B: Visible cytopathic effect secondary to SARS-CoV-2 replication with loss of cell layer confluence, rounding of infected cells and fusion with adjacent cells to form syncytia (10x magnification). C: Inset, CPE at 40x magnification.

A

B

C

Figure 5: Mean Ct values for each target (E, M, N, ORF1ab and RdRp) for Culture positive (CPE), Culture Positive (no CPE) and Culture Negative.

N gene target

| p-values | Negative | Positive & NO CPE |
| --- | --- | --- |
| Positive & CPE | <0.001 | 0.02 |
| Positive & NO CPE | <0.001 |  |

Figure 6: PCR Ct values by gene target comparing culture positive and culture negative upper and lower respiratory tract samples. Lower respiratory tract samples demonstrate significantly lower Ct values than upper respiratory tract samples for N gene target (P<0.001) only.

Figure 7: Comparison of days between symptom onset and sample collection for Culture Positive and Culture Negative samples (p value=<0.0001).