**S4 Table:** Summary of various reprocessing parameters evaluated for specific FFR models

(where disclosed in included studies) by various reprocessing methods

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **RESPIRATOR**  **MODEL** | **RESPIRATOR TYPE** | **PHYSICAL METHODS** | | | | | **LIQUID METHODS** | |
|  |  | **UVGI** | **MGS** | **MHI** | **MHA** | **TERC** | **BLEACH** | **ALCOHOL** |
| **3M 1860** | Surgical | P 21,22  O 21  D 21  F 21,22  E 8,15,26  M 15,19,26 | P 21,23  O 21  D 21  F 21,23 | P 21,23  O 21  D 21  F 21,23 |  |  |  |  |
| **3M 1870** | Surgical | P 21,23  O 21  D 21  F 21,23  E 15,26  M 15,19,26 | P 21,23  O 21  D 21  F 21,23  E 17  M 17 | P 21,23  O 21  D 21  F 21,23 |  |  |  |  |
| **3M 8000** | Particulate | P 21,23  O 21  D 21  F 21,23 | P 21,23  O 21  D 21  F 21,23 | P 21,23  O 21  D 21  F 21,23 |  |  |  |  |
| **3M 8210** | Particulate | P 21,23  O 21  D 21  F 21,23  E 24  M 24,29 | P 21,23  O 21  D 21  F 21,23 | P 21,23  O 21  D 21  F 21,23 | E 28  M 29 | E 28  M 29 | E 28  M 29 | E 28  M 29 |
| **3M 9210** | Surgical | E 8 |  |  |  |  |  |  |
| **3M Vflex 1805** | Surgical | M 19 |  |  |  |  |  |  |
| **AP 695** | Surgical | M 19 |  |  |  |  |  |  |
| **Cardinal N95-ML** | Surgical | E 24  M 24 |  |  |  |  |  |  |
| **Gerson 1730** | Surgical | E 8  M 19 |  |  |  |  |  |  |
| **KC 46727** | Surgical | E 8 |  |  |  |  |  |  |
| **KC PFR95-174** | Surgical | E 24  M 24 |  |  |  |  |  |  |
| **KC PFRN95-270** | Surgical | P 21,23  O 21  D 21  F 21,23 | P 21,23  O 21  D 21  F 21,23 | P 21,23  O 21  D 21  F 21,23 |  |  |  |  |
| **Moldex 1512** | Surgical | M 19 |  |  |  |  |  |  |
| **Moldex 1712** | Surgical | M 19 |  |  |  |  |  |  |
| **Moldex 2200** | Particulate | P 21  O 21  D 21  F 21 | P 21  O 21  D 21  F 21  E 17  M 17 | P 21  O 21  D 21  F 21 |  |  |  |  |
| **Moldex EZ-22** | Particulate | M 19 |  |  |  |  |  |  |
| **PA RP88020** | Surgical | M 19 |  |  |  |  |  |  |
| **Precept 65-3395** | Surgical | M 19 |  |  |  |  |  |  |
| **Sperian HC-NB095** | Surgical | M 19 |  |  |  |  |  |  |
| **Sperian HC-NB295F** | Surgical | M 19 |  |  |  |  |  |  |
| **Wilson SAF-T-FIT Plus** | Surgical | E 24  M 24,25 |  |  |  |  | M 25 |  |
| **US Safety AD2N95A** | Surgical | M 19 |  |  |  |  |  |  |
| **US Safety AD4N95** | Surgical | M 19 |  |  |  |  |  |  |

**ABBREVIATIONS:** **P**- Physical, **O**-Odour, **D**-Donning Ease & Wear Comfort, **F**-Respirator Fit, **E**: Filter Efficiency, **M**-Microbicidal Efficacy

**RESPIRATOR MANUFACTURERS:**

**3M**: 3M Company, Minneapolis MN

**AP**: Alpha Protech, Markham, Canada.

**Cardinal:** Cardinal Health, Inc, Dublin.

**Gerson:** Lois M Gerson Co, Inc, Middleboro, MA Inc,

**KC:** Kimberly Clark, Halyard Health Inc., Alpharaetta, GA.

**Moldex:** Moldex, Culver city, CA.

**PA**: Prestige Ameritech, North Richland Hills, TX.

**Precept**: Precept Medical products, Inc, Arden, NC.

**Sperian:** Honeywell Safety Products USA, Smithfield, RI.

**Wilson:** Wilson, Santa Ana, CA.

**US Safety:** Dentech Safety Specialists, Lenexa, KS.