**Supplementary Table 1 – Overview of mass transitions and retention times of measured steroids**

|  |  |  |  |
| --- | --- | --- | --- |
| Steroid | Mass transition | Retention time | LOQ |
| 17-hydroxyprogesterone | 331.1 > 96.9 | 2.62 | 0.30 |
| 17-hydroxyprogesterone-d8 | 339.1 > 100.0 | 2.57 | - |
| Androstenedione | 287.1 > 96.9 | 2.13 | 0.35 |
| Corticosterone | 347.1 > 121.0 | 1.65 | 0.29 |
| Corticosterone-d8 | 355.1 > 124.9 | 1.62 | - |
| Cortisol | 363.1 > 90.9 | 1.18 | 0.14 |
| Cortisol-d4 | 367.2 > 121.1 | 1.18 | - |
| Cortisone | 361.0 > 121.0 | 1.03 | 0.14 |
| DHEA | 289.2 > 213.1 | 2.57 | 0.86 |
| DHEA-d6 | 277.2 > 219.1 | 2.53 | - |
| DHT | 291.1 > 159.1 | 3.04 | 0.34 |
| DHT-d3 | 294.1 > 259.1 | 3.00 | - |
| Testosterone | 289.1 > 96.9 | 2.38 | 0.10 |
| Testosterone-d3 | 292.1 > 96.9 | 2.35 | - |

**Supplementary Figure 1 – Chromatograph of steroids**

Chromatographic separation of 8 steroids. (1) cortisone, (2) cortisol, (3) corticosterone, (4) androstenedione, (5) testosterone, (6) DHEA, (7) 17-hydroxyprogesterone and (8) DHT. Top chromatogram shows separation with normalized intensity, bottom graph with actual response, note in lower chromatogram DHEA signal is indistinguishable from 17-hydroxyprogesterone due to poor ionisation



1

2

3

4

5

6

7

8